ENGINEERING AND ENVIRONMENTAL SERVICES

Stormwater Division

120 East Parrish Street, 1st Floor, Durham, NC 27701

Telephone (919) 560-0739 Fax (919) 560-0740

STORMWATER WETLAND DESIGN SUMMARY

Stormwater Management Construction Plan Review:

A complete Stormwater management construction plan submittal includes a design summary for each Stormwater BMP, design calculations, plans and specifications showing BMP, inlet and outlet structure details.

- PROJECT INFORMATION

For projects with multiple SCMs, specify which SCM this worksheet applies to:

Project Name: ___________________________________	Phase: _______________________

PIN: ___________________________________________	Case #: _______________________

Legal Name of Owner: ___________________________________________________________

Owner Contact: _________________________________	Phone: _______________________

Owner Address: ________________________________________________________________

Design Contact Person: ___________________________	Phone: _______________________

Detention provided for:  ____ 1-year     _____ 2-year     _____ 10-year     _____other_________

Dam Height: ________ (feet)     Dam Classification: ______

- GENERAL MINIMUM DESIGN CRITERIA FOR ALL SCMs

GENERAL MDC 1: SIZING

| Design storm depth |  | ft |
| --- | --- | --- |
| Design runoff volume |  | ft3 |

(One year, 24 hour storm event)

(Minimum calculation of entire drainage area)
GENERAL MDC 2: CONTAMINATED SOILS

| Contaminated soils within footprint? | Y / N |
| --- | --- |

(Brownfield location?)

GENERAL MDC 3: SIDE SLOPES

| Maximum vegetated side slopes | : 1 |
| --- | --- |

(Maximum 3:1 vegetated slopes)

GENERAL MDC 4: EROSION PROTECTION

| 10 year storm outlet discharge | cfs |
| --- | --- |

(Must be non-erosive)

GENERAL MDC 5: EXCESS FLOW

| Emergency outlet elevation |  | ft |
| --- | --- | --- |
| Emergency spillway width |  | ft |
| Emergency spillway side slopes |  | : 1 |
| Emergency spillway slope |  | % |

GENERAL MDC 6: DEWATERING

| Dewatering method |  |  |
| --- | --- | --- |
| Drawdown orifice size |  | in |

(If applicable)

GENERAL MDC 7: MAINTENANCE ACCESS

| Maintenance access width |  | ft |
| --- | --- | --- |
| Side slopes within maintenance access |  | : 1 |
| Access extend to public right of way |  | Y / N |

(Minimum width of 10 feet)

(Maximum 3:1)

- STORMWATER WETLAND MINIMUM DESIGN CRITERIA

STORMWATER WETLAND MDC 1: TEMPORARY PONDING DEPTH

| Wetland design volume |  | ft3 |
| --- | --- | --- |
| Design volume ponding depth |  | in |
| Permanent Pool Elevation |  | ft |

(One year, 24 hour storm)

(Max. 15 inches above permanent pool)

STORMWATER WETLAND MDC 2: PEAK ATTENUATION DEPTH

| Temporary ponding depth of peak attenuation volume | in |
| --- | --- |

STORMWATER WETLAND MDC 3: SURFACE AREA

| Wetland surface area | sf |
| --- | --- |

(Min. = Design volume divided by 1.25 ft)

STORMWATER WETLAND MDC 4: SOIL AMENDMENTS

| Soil tests completed |  | Y / N |
| --- | --- | --- |

(Req’d for first 12” of planting depth soil)

STORMWATER WETLAND MDC 5: LOCATION OF INLET(S) AND OUTLET

| Shortest distance between inlet and outlet | ft |
| --- | --- |

(Distance should avoid short-circuiting)

STORMWATER WETLAND MDC 6: FOREBAY

| Forebay surface area | sf |
| --- | --- |
| Surface area percentage of entire wetland | % |
| Forebay depth | in |
| Forebay bottom elevation | ft |

(10-15 percent of wetland surface area)

(15 inches minimum)

(24-40 inches below permanent pool)

STORMWATER WETLAND MDC 7: NON-FOREBAY DEEP POOLS

| Deep pools surface area | sf |
| --- | --- |
| Surface area percentage of entire wetland | % |
| Deep pool minimum depth | in |
| Deep pool bottom elevation | ft |

(5-15 percent of wetland surface area)

(Min. 18 inches below permanent pool)

(Depth of shallowest deep pool)

STORMWATER WETLAND MDC 8: SHALLOW WATER ZONE

| Shallow pools surface area | sf |
| --- | --- |
| Surface area percentage of entire wetland | % |
| Shallow pool maximum depth | in |
| Shallow pool bottom elevation | ft |

(35-45 percent of wetland surface area)

(0-9 inches below permanent pool)

(Deepest designed shallow pool)

STORMWATER WETLAND MDC 9: TEMPORARY INDUNDATION ZONE

| Inundation zone surface area | sf |
| --- | --- |
| Surface area percentage of entire wetland | % |
| Inundation zone maximum depth | in |

(30-45 percent of wetland surface area)

(0-15 inches above permanent pool)

STORMWATER WETLAND MDC 10: DRAWDOWN TIME

| Drawdown time | days |
| --- | --- |
| Large event bypass elevation | ft |

(Must be within 2-5 days)

STORMWATER WETLAND MDC 11: PROTECTION OF THE RECEIVING STREAM

| One-year, 24 hour runoff rate | cfs |
| --- | --- |

- STORMWATER WETLAND DESIGN CHARACTERISTICS

Wetland bottom elevation			__________ ft		(floor of wetland)

Permanent pool elevation			__________ ft		(invert elev. of the orifice)

Temporary pool elevation			__________ ft		(elev. of structure overflow)

1-year storm orifice/weir elevation		__________ ft		(invert elevation)

1-year storm water surface elevation	__________ ft

2-year storm orifice/weir elevation		__________ ft		(invert elevation)

2-year storm water surface elevation	__________ ft

10-year storm orifice/weir elevation		__________ ft		(invert elevation)

10-year storm water surface elevation	__________ ft

Emergency spillway elevation			__________ ft		(invert of spillway)

Top of embankment/dam			__________ ft		(elevation)

Maximum water surface elevation		__________ ft		(max. pond can safely pass)

At BMP

1- Year	               2-year                  10-year	      _____-year

Inflow                            	      _______ cfs         _______ cfs         _______ cfs       _______ cfs

Routed Outflow	      _______ cfs         _______ cfs         _______ cfs       _______ cfs

At Analysis Point(s) that BMP contributes to

1- Year	               2-year                  10-year	      _____-year

Pre-development                              _______ cfs         _______ cfs         _______ cfs       _______ cfs

Post-development w/o detention _______ cfs         _______ cfs         _______ cfs       _______ cfs

With Detention        	       _______ cfs         _______ cfs         _______ cfs       _______ cfs

- REQUIRED ITEMS CHECKLIST

The following checklist outlines design requirements. Initial in the space provided to indicate the following design requirements have been met and supporting documentation is attached.

Applicant’s Initials

__________ a. The forebay volume is approximately equal to 20% of the pond volume.

__________ b. The temporary pool controls runoff for water quality design storm.

__________ c. The temporary pool draws down in 2- to 5-days.

__________ d. The design volume is equivalent to the volume retained for a two to five day period between the temporary pool elevation and permanent pool elevation.

__________ e. Riprap outlet protection, if provided, reduces flow to non-erosive velocities (provide calculations).

__________ f. The wetland length to width ratio is greater than or equal to 3:1.

__________ g. The wetland side slopes above the permanent pool area are no steeper than 3:1.

__________ h. A submerged and vegetated shelf with a slope no greater than 6:1 is provided around the perimeter of the pond (show on plan and profile and provide a vegetation plan).

__________ i. Vegetative cover above the permanent pool elevation is specified. No woody vegetation is permitted on the embankment.

__________ j. A surface baffle, trash rack, or similar device is provided for both the overflow and orifice. Flat top trash racks are not acceptable. Access hatch has been provided.

__________ k. A recorded drainage easement is provided for each pond including access to the nearest right-of-way and is graded per NCDEQ Stormwater BMP Manual, C-5. Stormwater Wetland.

__________ l. If the basin is used for sediment and erosion control during construction, a note requiring clean out and vegetative cover being established prior to use as a wet detention basin shall be provided on the construction plan.

__________ m. A mechanism is specified which will drain the pond for maintenance and emergencies. Valves used shall be plug valves.

__________ n. Anti-floatation calculations are provided for riser structure.

__________ o. A plan view of the wetland with grading shown is provided.

__________ p. A profile through the forebay, wetland and spillway is provided. Water surface elevations are shown on the profile.

__________ q. Riser structure details are provided.

__________ r. Dam designed to account for a 5.00% settlement factor.

__________ s. Compaction specifications for the embankment are shown on the plan.

__________ t. The minimum top of dam width has been provided for the wetland embankment top width per NCDEQ Stormwater BMP Manual, C-5. Stormwater Wetland.

NOTE: Executed Stormwater Facility Operations and Maintenance Permit Agreement and payment of surety are required prior to Stormwater Permit issuance.